# Text boxes

EVALUATE / U PGRADE UTILITY SYSTEMS

Recovery Value

An adequate and reliable utility system is critical to meeting existing user demands and to support/attract future development.

Goal

Assess the need for utility system improvements/expansions and upgrade the condition of the water distribution, sanitary sewer, and storm sewer systems by correcting existing deficiencies and increase the overall system capacity, as necessary.

Project Description

Utica’s utility system is generally functional in its current condition; however, the rebuilding process should include an assessment of the adequacy of its condition, capacity, and reliability to meet expectations of current residents as well as projected future demands. Many of the water mains in the community are aged and deteriorating, resulting in frequent ruptures. The existing system configuration does not provide adequate water pressure to the northern portions of the community. Additionally, the technology utilized at the wastewater treatment plant is relatively outdated. System upgrades should be carefully considered based on conditions found to be deficient and/or the need to expand the capability of the system.

Options

Utility System Assessment

Conduct a feasibility study to identify specific aspects of the existing water distribution, sanitary sewer, and storm water systems that are in need of upgrade to meet the demands of anticipated future development. This analysis should investigate the need for and feasibility of improvements to the equipment or technology utilized in the existing system, as well as expansion of the geographic coverage of each system.

Water and Sewer System Upgrades

A variety of upgrades for the existing water system may be needed upon completion of the system assessment. Key water system improvements could include installing emergency generators at the well pump houses and construction of a new 250,000-gallon water tower. Sewer upgrades may include expansion of the treatment plant and overall system coverage. These upgrades would increase reliability and function of the system and support current needs and future development. Improvements may be prioritized and completed in stages if needed.

Cost

Utility System Assessment: $15,000

Water System Improvements: $1,700,000 (installing emergency manual diesel generators at well pump houses, construction of a new 250,000-gallon elevated water tank, construction of an additional 450 gpm water supply well, 2 miles of water main replacements at $50/LF, and water service extensions)

Sewer System: $370,000 (construction of a new lift station at I-80, and extension of service into unserved portions of the community)

Rick Maltas Superintendent

Utica Public Works Dept.

“We should start thinking about future utility system improvements right now, so that we can start planning ahead and figuring out how to pay for them.”

Recovery

MOD